## Phantom
Parent Item | Component Item | Item Description | Standard Unit of Measure | Qty Per | Product Line | Product Type | Procurement Type | Sub Product Family | Staged Item | Coated | Golden Standard
| PH-DR-LIN-4.5FT-VHO-DO-347V | A-LIGHT LINO PDRVR 347 1300LMF U4/6 ZT |  | 1 |  |  |  |  | N | N | N
PH-DR-LIN-4.5FT-VHO-DO-347V | /C | Tuned at 1350mA |  | 0
PH-DR-LIN-4.5FT-VHO-DO-347V | /C | Program to LIN Dim curve |  | 1
PH-DR-LIN-4.5FT-VHO-DO-347V | /C | Program to 1% minimum dimming level |  | 1
PH-DR-LIN-4.5FT-VHO-DO-347V | B-OSR-CC-50W-P-1.0D-347-AUX | OPTOTRONIC OTi 50W 347V Driver |  | 1
PH-DR-LIN-4.5FT-VHO-DO-347V | B-OSR-CC-85W-P-1.0D-347HB-AUX | OPTOTRONIC OTi 85W 347V Driver |  | 5
PH-DR-LIN-4.5FT-VHO-DO-347V | BR-ACL-DRIVER-A6 | BRACKET MOUNT DRIVER ACL3S 0.063" ALUMINUM |  | 5
PH-DR-LIN-4.5FT-VHO-DO-347V | H-F-8-32X.250-PPH-SS | MACHINE SCREW #8-32 x 1/4" PHILLIPS PAN HEAD STAINLESS STEEL |  | 10
PH-DR-LIN-4.5FT-VHO-DO-347V | H-#18-GROUND | ROUND WIRE #18 GA GREEN STAR RING #8 CENTER, 8" LENGTH |  | 10
| LINO2RD-PRLED2619 | LINO LINO2RD PRLED U5 27K 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2619 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2619 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2619 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2619 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 5 |  |  | B
LINO2RD-PRLED2619 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 5 |  |  | B
LINO2RD-PRLED2619 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 10 |  |  | B
LINO2RD-PRLED2619 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 10 |  |  | B
LINO2RD-PRLED2619 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2619 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2619 | LED-CC-2700-H-V1-6-R90 | 1/2 inch foot board 2700K, 90 CRI |  | 2 |  |  | B
LINO2RD-PRLED2619 | LED-CC-2700-H-V1-22-R90 | 22.90 inch foot board 2700K, 90 CRI |  | 1 |  |  | B
LINO2RD-PRLED2619 | LED-CC-2700-H-V1-24-R90 | 23.98 inch foot board 2700K, 90 CRI |  | 1 |  |  | B
| LINO2RD-PRLED2620 | LINO LINO2RD PRLED U5 30K 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2620 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2620 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2620 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2620 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 5 |  |  | B
LINO2RD-PRLED2620 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 5 |  |  | B
LINO2RD-PRLED2620 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 10 |  |  | B
LINO2RD-PRLED2620 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 10 |  |  | B
LINO2RD-PRLED2620 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2620 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2620 | LED-CC-3000-H-V1-6 | 1/2 inch foot board 3000K |  | 2 |  |  | B
LINO2RD-PRLED2620 | LED-CC-3000-H-V1-22 | 22.90 inch foot board 3000K |  | 1 |  |  | B
LINO2RD-PRLED2620 | LED-CC-3000-H-V1-24 | 23.98 inch foot board 3000K |  | 1 |  |  | B
| LINO2RD-PRLED2621 | LINO LINO2RD PRLED U5 30K 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2621 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2621 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2621 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2621 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 5 |  |  | B
LINO2RD-PRLED2621 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 5 |  |  | B
LINO2RD-PRLED2621 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 10 |  |  | B
LINO2RD-PRLED2621 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 10 |  |  | B
LINO2RD-PRLED2621 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2621 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2621 | LED-CC-3000-H-V1-6-R90 | 1/2 inch foot board 3000K, 90 CRI |  | 2 |  |  | B
LINO2RD-PRLED2621 | LED-CC-3000-H-V1-22-R90 | 22.90 inch foot board 3000K, 90 CRI |  | 1 |  |  | B
LINO2RD-PRLED2621 | LED-CC-3000-H-V1-24-R90 | 23.98 inch foot board 3000K, 90 CRI |  | 1 |  |  | B
| LINO2RD-PRLED2622 | LINO LINO2RD PRLED U5 35K 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2622 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2622 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2622 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2622 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 5 |  |  | B
LINO2RD-PRLED2622 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 5 |  |  | B
LINO2RD-PRLED2622 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 10 |  |  | B
LINO2RD-PRLED2622 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 10 |  |  | B
LINO2RD-PRLED2622 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2622 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2622 | LED-CC-3500-H-V1-6 | 1/2 inch foot board 3500K |  | 2 |  |  | B
LINO2RD-PRLED2622 | LED-CC-3500-H-V1-22 | 22.90 inch foot board 3500K |  | 1 |  |  | B
LINO2RD-PRLED2622 | LED-CC-3500-H-V1-24 | 23.98 inch foot board 3500K |  | 1 |  |  | B
| LINO2RD-PRLED2623 | LINO LINO2RD PRLED U5 35K 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2623 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2623 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2623 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2623 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 5 |  |  | B
LINO2RD-PRLED2623 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 5 |  |  | B
LINO2RD-PRLED2623 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 10 |  |  | B
LINO2RD-PRLED2623 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 10 |  |  | B
LINO2RD-PRLED2623 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2623 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2623 | LED-CC-3500-H-V1-6-R90 | 1/2 inch foot board 3500K, 90 CRI |  | 2 |  |  | B
LINO2RD-PRLED2623 | LED-CC-3500-H-V1-22-R90 | 22.90 inch foot board 3500K, 90 CRI |  | 1 |  |  | B
LINO2RD-PRLED2623 | LED-CC-3500-H-V1-24-R90 | 23.98 inch foot board 3500K, 90 CRI |  | 1 |  |  | B
| LINO2RD-PRLED2624 | LINO LINO2RD PRLED U5 40K 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2624 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2624 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2624 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2624 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 5 |  |  | B
LINO2RD-PRLED2624 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 5 |  |  | B
LINO2RD-PRLED2624 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 10 |  |  | B
LINO2RD-PRLED2624 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 10 |  |  | B
LINO2RD-PRLED2624 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2624 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2624 | LED-CC-4000-H-V1-6 | 1/2 inch foot board 4000K |  | 2 |  |  | B
LINO2RD-PRLED2624 | LED-CC-4000-H-V1-22 | 22.90 inch foot board 4000K |  | 1 |  |  | B
LINO2RD-PRLED2624 | LED-CC-4000-H-V1-24 | 23.98 inch foot board 4000K |  | 1 |  |  | B
| LINO2RD-PRLED2625 | LINO LINO2RD PRLED U5 40K 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2625 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2625 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2625 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2625 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 5 |  |  | B
LINO2RD-PRLED2625 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 5 |  |  | B
LINO2RD-PRLED2625 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 10 |  |  | B
LINO2RD-PRLED2625 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 10 |  |  | B
LINO2RD-PRLED2625 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2625 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2625 | LED-CC-4000-H-V1-6-R90 | 1/2 inch foot board 4000K, 90 CRI |  | 2 |  |  | B
LINO2RD-PRLED2625 | LED-CC-4000-H-V1-22-R90 | 22.90 inch foot board 4000K, 90 CRI |  | 1 |  |  | B
LINO2RD-PRLED2625 | LED-CC-4000-H-V1-24-R90 | 23.98 inch foot board 4000K, 90 CRI |  | 1 |  |  | B
| LINO2RD-PRLED2626 | LINO LINO2RD PRLED U5 TW 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2626 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2626 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2626 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2626 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 5 |  |  | B
LINO2RD-PRLED2626 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 5 |  |  | B
LINO2RD-PRLED2626 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 10 |  |  | B
LINO2RD-PRLED2626 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 10 |  |  | B
LINO2RD-PRLED2626 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2626 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2626 | LED-CC-2750-H-V1-6-TW | 1/2 inch foot board TUNABLE WHITE |  | 2 |  |  | B
LINO2RD-PRLED2626 | LED-CC-2750-H-V1-22-TW | 22.90 inch foot board TUNABLE WHITE |  | 1 |  |  | B
LINO2RD-PRLED2626 | LED-CC-2750-H-V1-24-TW | 23.98 inch foot board TUNABLE WHITE |  | 1 |  |  | B
| LINO2RD-PRLED2627 | LINO LINO2RD PRLED U5 TW 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2627 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2627 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2627 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2627 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 5 |  |  | B
LINO2RD-PRLED2627 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 5 |  |  | B
LINO2RD-PRLED2627 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 10 |  |  | B
LINO2RD-PRLED2627 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 10 |  |  | B
LINO2RD-PRLED2627 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2627 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
| LINO2RD-PRLED2628 | LINO LINO2RD PRLED U5 DW 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2628 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2628 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2628 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2628 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 5 |  |  | B
LINO2RD-PRLED2628 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 5 |  |  | B
LINO2RD-PRLED2628 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 10 |  |  | B
LINO2RD-PRLED2628 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 10 |  |  | B
LINO2RD-PRLED2628 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2628 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
| LINO2RD-PRLED2629 | LINO LINO2RD PRLED U5 DW 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2629 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2629 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2629 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2629 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 5 |  |  | B
LINO2RD-PRLED2629 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 5 |  |  | B
LINO2RD-PRLED2629 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 10 |  |  | B
LINO2RD-PRLED2629 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 10 |  |  | B
LINO2RD-PRLED2629 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2629 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
| LINO2RD-PRLED2630 | LINO LINO2RD PRLED U5/1 27K 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2630 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2630 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2630 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2630 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2630 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2630 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2630 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2630 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2630 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2630 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2630 | LED-CC-2700-H-V1-6 | 1/2 inch foot board 2700K |  | 3 |  |  | B
LINO2RD-PRLED2630 | LED-CC-2700-H-V1-22 | 22.90 inch foot board 2700K |  | 1 |  |  | B
LINO2RD-PRLED2630 | LED-CC-2700-H-V1-24 | 23.98 inch foot board 2700K |  | 1 |  |  | B
| LINO2RD-PRLED2631 | LINO LINO2RD PRLED U5/1 27K 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2631 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2631 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2631 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2631 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2631 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2631 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2631 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2631 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2631 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2631 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2631 | LED-CC-2700-H-V1-6-R90 | 1/2 inch foot board 2700K, 90 CRI |  | 3 |  |  | B
LINO2RD-PRLED2631 | LED-CC-2700-H-V1-22-R90 | 22.90 inch foot board 2700K, 90 CRI |  | 1 |  |  | B
LINO2RD-PRLED2631 | LED-CC-2700-H-V1-24-R90 | 23.98 inch foot board 2700K, 90 CRI |  | 1 |  |  | B
| LINO2RD-PRLED2632 | LINO LINO2RD PRLED U5/1 30K 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2632 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2632 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2632 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2632 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2632 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2632 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2632 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2632 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2632 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2632 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2632 | LED-CC-3000-H-V1-6 | 1/2 inch foot board 3000K |  | 3 |  |  | B
LINO2RD-PRLED2632 | LED-CC-3000-H-V1-22 | 22.90 inch foot board 3000K |  | 1 |  |  | B
LINO2RD-PRLED2632 | LED-CC-3000-H-V1-24 | 23.98 inch foot board 3000K |  | 1 |  |  | B
| LINO2RD-PRLED2633 | LINO LINO2RD PRLED U5/1 30K 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2633 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2633 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2633 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2633 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2633 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2633 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2633 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2633 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2633 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2633 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2633 | LED-CC-3000-H-V1-6-R90 | 1/2 inch foot board 3000K, 90 CRI |  | 3 |  |  | B
LINO2RD-PRLED2633 | LED-CC-3000-H-V1-22-R90 | 22.90 inch foot board 3000K, 90 CRI |  | 1 |  |  | B
LINO2RD-PRLED2633 | LED-CC-3000-H-V1-24-R90 | 23.98 inch foot board 3000K, 90 CRI |  | 1 |  |  | B
| LINO2RD-PRLED2634 | LINO LINO2RD PRLED U5/1 35K 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2634 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2634 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2634 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2634 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2634 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2634 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2634 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2634 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2634 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2634 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2634 | LED-CC-3500-H-V1-6 | 1/2 inch foot board 3500K |  | 3 |  |  | B
LINO2RD-PRLED2634 | LED-CC-3500-H-V1-22 | 22.90 inch foot board 3500K |  | 1 |  |  | B
LINO2RD-PRLED2634 | LED-CC-3500-H-V1-24 | 23.98 inch foot board 3500K |  | 1 |  |  | B
| LINO2RD-PRLED2635 | LINO LINO2RD PRLED U5/1 35K 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2635 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2635 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2635 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2635 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2635 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2635 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2635 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2635 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2635 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2635 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2635 | LED-CC-3500-H-V1-6-R90 | 1/2 inch foot board 3500K, 90 CRI |  | 3 |  |  | B
LINO2RD-PRLED2635 | LED-CC-3500-H-V1-22-R90 | 22.90 inch foot board 3500K, 90 CRI |  | 1 |  |  | B
LINO2RD-PRLED2635 | LED-CC-3500-H-V1-24-R90 | 23.98 inch foot board 3500K, 90 CRI |  | 1 |  |  | B
| LINO2RD-PRLED2636 | LINO LINO2RD PRLED U5/1 40K 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2636 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2636 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2636 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2636 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2636 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2636 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2636 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2636 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2636 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2636 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2636 | LED-CC-4000-H-V1-6 | 1/2 inch foot board 4000K |  | 3 |  |  | B
LINO2RD-PRLED2636 | LED-CC-4000-H-V1-22 | 22.90 inch foot board 4000K |  | 1 |  |  | B
LINO2RD-PRLED2636 | LED-CC-4000-H-V1-24 | 23.98 inch foot board 4000K |  | 1 |  |  | B
| LINO2RD-PRLED2637 | LINO LINO2RD PRLED U5/1 40K 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2637 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2637 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2637 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2637 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2637 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2637 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2637 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2637 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2637 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2637 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2637 | LED-CC-4000-H-V1-6-R90 | 1/2 inch foot board 4000K, 90 CRI |  | 3 |  |  | B
LINO2RD-PRLED2637 | LED-CC-4000-H-V1-22-R90 | 22.90 inch foot board 4000K, 90 CRI |  | 1 |  |  | B
LINO2RD-PRLED2637 | LED-CC-4000-H-V1-24-R90 | 23.98 inch foot board 4000K, 90 CRI |  | 1 |  |  | B
| LINO2RD-PRLED2638 | LINO LINO2RD PRLED U5/1 TW 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2638 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2638 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2638 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2638 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2638 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2638 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2638 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2638 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2638 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2638 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2638 | LED-CC-2750-H-V1-6-TW | 1/2 inch foot board TUNABLE WHITE |  | 3 |  |  | B
LINO2RD-PRLED2638 | LED-CC-2750-H-V1-22-TW | 22.90 inch foot board TUNABLE WHITE |  | 1 |  |  | B
LINO2RD-PRLED2638 | LED-CC-2750-H-V1-24-TW | 23.98 inch foot board TUNABLE WHITE |  | 1 |  |  | B
| LINO2RD-PRLED2639 | LINO LINO2RD PRLED U5/1 TW 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2639 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2639 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2639 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2639 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2639 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2639 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2639 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2639 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2639 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2639 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
| LINO2RD-PRLED2640 | LINO LINO2RD PRLED U5/1 DW 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2640 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2640 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2640 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2640 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2640 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2640 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2640 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2640 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2640 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2640 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
| LINO2RD-PRLED2641 | LINO LINO2RD PRLED U5/1 DW 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2641 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2641 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2641 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2641 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2641 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2641 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2641 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2641 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2641 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2641 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
| LINO2RD-PRLED2642 | LINO LINO2RD PRLED U5/2 27K 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2642 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2642 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2642 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2642 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2642 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2642 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2642 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2642 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2642 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2642 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2642 | LED-CC-2700-H-V1-6 | 1/2 inch foot board 2700K |  | 3 |  |  | B
LINO2RD-PRLED2642 | LED-CC-2700-H-V1-22 | 22.90 inch foot board 2700K |  | 1 |  |  | B
LINO2RD-PRLED2642 | LED-CC-2700-H-V1-24 | 23.98 inch foot board 2700K |  | 1 |  |  | B
| LINO2RD-PRLED2643 | LINO LINO2RD PRLED U5/2 27K 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2643 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2643 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2643 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2643 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2643 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2643 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2643 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2643 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2643 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2643 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2643 | LED-CC-2700-H-V1-6-R90 | 1/2 inch foot board 2700K, 90 CRI |  | 3 |  |  | B
LINO2RD-PRLED2643 | LED-CC-2700-H-V1-22-R90 | 22.90 inch foot board 2700K, 90 CRI |  | 1 |  |  | B
LINO2RD-PRLED2643 | LED-CC-2700-H-V1-24-R90 | 23.98 inch foot board 2700K, 90 CRI |  | 1 |  |  | B
| LINO2RD-PRLED2644 | LINO LINO2RD PRLED U5/2 30K 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2644 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2644 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2644 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2644 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2644 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2644 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2644 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2644 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2644 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2644 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2644 | LED-CC-3000-H-V1-6 | 1/2 inch foot board 3000K |  | 3 |  |  | B
LINO2RD-PRLED2644 | LED-CC-3000-H-V1-22 | 22.90 inch foot board 3000K |  | 1 |  |  | B
LINO2RD-PRLED2644 | LED-CC-3000-H-V1-24 | 23.98 inch foot board 3000K |  | 1 |  |  | B
| LINO2RD-PRLED2645 | LINO LINO2RD PRLED U5/2 30K 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2645 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2645 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2645 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2645 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2645 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2645 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2645 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2645 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2645 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2645 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2645 | LED-CC-3000-H-V1-6-R90 | 1/2 inch foot board 3000K, 90 CRI |  | 3 |  |  | B
LINO2RD-PRLED2645 | LED-CC-3000-H-V1-22-R90 | 22.90 inch foot board 3000K, 90 CRI |  | 1 |  |  | B
LINO2RD-PRLED2645 | LED-CC-3000-H-V1-24-R90 | 23.98 inch foot board 3000K, 90 CRI |  | 1 |  |  | B
| LINO2RD-PRLED2646 | LINO LINO2RD PRLED U5/2 35K 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2646 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2646 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2646 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2646 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2646 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2646 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2646 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2646 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2646 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2646 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2646 | LED-CC-3500-H-V1-6 | 1/2 inch foot board 3500K |  | 3 |  |  | B
LINO2RD-PRLED2646 | LED-CC-3500-H-V1-22 | 22.90 inch foot board 3500K |  | 1 |  |  | B
LINO2RD-PRLED2646 | LED-CC-3500-H-V1-24 | 23.98 inch foot board 3500K |  | 1 |  |  | B
| LINO2RD-PRLED2647 | LINO LINO2RD PRLED U5/2 35K 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2647 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2647 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2647 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2647 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2647 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2647 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2647 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2647 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2647 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2647 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2647 | LED-CC-3500-H-V1-6-R90 | 1/2 inch foot board 3500K, 90 CRI |  | 3 |  |  | B
LINO2RD-PRLED2647 | LED-CC-3500-H-V1-22-R90 | 22.90 inch foot board 3500K, 90 CRI |  | 1 |  |  | B
LINO2RD-PRLED2647 | LED-CC-3500-H-V1-24-R90 | 23.98 inch foot board 3500K, 90 CRI |  | 1 |  |  | B
| LINO2RD-PRLED2648 | LINO LINO2RD PRLED U5/2 40K 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2648 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2648 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2648 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2648 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2648 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2648 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2648 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2648 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2648 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2648 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2648 | LED-CC-4000-H-V1-6 | 1/2 inch foot board 4000K |  | 3 |  |  | B
LINO2RD-PRLED2648 | LED-CC-4000-H-V1-22 | 22.90 inch foot board 4000K |  | 1 |  |  | B
LINO2RD-PRLED2648 | LED-CC-4000-H-V1-24 | 23.98 inch foot board 4000K |  | 1 |  |  | B
| LINO2RD-PRLED2649 | LINO LINO2RD PRLED U5/2 40K 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2649 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2649 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2649 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2649 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2649 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2649 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2649 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2649 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2649 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2649 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2649 | LED-CC-4000-H-V1-6-R90 | 1/2 inch foot board 4000K, 90 CRI |  | 3 |  |  | B
LINO2RD-PRLED2649 | LED-CC-4000-H-V1-22-R90 | 22.90 inch foot board 4000K, 90 CRI |  | 1 |  |  | B
LINO2RD-PRLED2649 | LED-CC-4000-H-V1-24-R90 | 23.98 inch foot board 4000K, 90 CRI |  | 1 |  |  | B
| LINO2RD-PRLED2650 | LINO LINO2RD PRLED U5/2 TW 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2650 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2650 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2650 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2650 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2650 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2650 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2650 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2650 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2650 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2650 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2650 | LED-CC-2750-H-V1-6-TW | 1/2 inch foot board TUNABLE WHITE |  | 3 |  |  | B
LINO2RD-PRLED2650 | LED-CC-2750-H-V1-22-TW | 22.90 inch foot board TUNABLE WHITE |  | 1 |  |  | B
LINO2RD-PRLED2650 | LED-CC-2750-H-V1-24-TW | 23.98 inch foot board TUNABLE WHITE |  | 1 |  |  | B
| LINO2RD-PRLED2651 | LINO LINO2RD PRLED U5/2 TW 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2651 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2651 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2651 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2651 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2651 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2651 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2651 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2651 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2651 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2651 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
| LINO2RD-PRLED2652 | LINO LINO2RD PRLED U5/2 DW 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2652 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2652 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2652 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2652 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2652 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2652 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2652 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2652 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2652 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2652 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
| LINO2RD-PRLED2653 | LINO LINO2RD PRLED U5/2 DW 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2653 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2653 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2653 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2653 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2653 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2653 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2653 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2653 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2653 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2653 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
| LINO2RD-PRLED2654 | LINO LINO2RD PRLED U5/3 27K 80CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2654 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2654 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2654 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2654 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2654 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2654 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2654 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2654 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2654 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2654 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2654 | LED-CC-2700-H-V1-6 | 1/2 inch foot board 2700K |  | 3 |  |  | B
LINO2RD-PRLED2654 | LED-CC-2700-H-V1-22 | 22.90 inch foot board 2700K |  | 1 |  |  | B
LINO2RD-PRLED2654 | LED-CC-2700-H-V1-24 | 23.98 inch foot board 2700K |  | 1 |  |  | B
| LINO2RD-PRLED2655 | LINO LINO2RD PRLED U5/3 27K 90CRI |  | 1 |  |  |  |  | N | N | N
LINO2RD-PRLED2655 | MT-LINSP-SLDR-5.98-INT | MOUNT TRAY SLIDER LINO SP 5.98" |  | 1 |  |  | M
LINO2RD-PRLED2655 | MT-LINSP-11.98-DM | MOUNT TRAY LINO SP 11.98" |  | 1 |  |  | M
LINO2RD-PRLED2655 | MT-LINSP-22.90-A4 | MOUNT TRAY LINO SP 22.90" |  | 1 |  |  | M
LINO2RD-PRLED2655 | MT-LINSP-23.98-C-DM | MOUNT TRAY LINO SP 23.98" |  | 1 |  |  | M
LINO2RD-PRLED2655 | H-TIE-WRAP-4-CLR | TIE WRAP 4" CLEAR |  | 6 |  |  | B
LINO2RD-PRLED2655 | H-NYLON-MNT-PAD | MOUNTING PAD, UV NYLON |  | 6 |  |  | B
LINO2RD-PRLED2655 | H-F-P2F-28.901-U165 | PUSH TO FIX WHITE .106"-.126" GRIP RANGE (2.7-3.2mm) |  | 12 |  |  | B
LINO2RD-PRLED2655 | H-F-8-32X.250-PRH-TF | #8-32X 1/4" Rounded Head Thread-Cutting Screws |  | 12 |  |  | B
LINO2RD-PRLED2655 | /H-18GA MASTR SOLID | 18GA Solid Wire |  | 5 |  |  | B
LINO2RD-PRLED2655 | /H-18GA MASTR TWISTED | 18GA Twisted Wire |  | 10 |  |  | B
LINO2RD-PRLED2655 | LED-CC-2700-H-V1-6-R90 | 1/2 inch foot board 2700K, 90 CRI |  | 3 |  |  | B
LINO2RD-PRLED2655 | LED-CC-2700-H-V1-22-R90 | 22.90 inch foot board 2700K, 90 CRI |  | 1 |  |  | B
LINO2RD-PRLED2655 | LED-CC-2700-H-V1-24-R90 | 23.98 inch foot board 2700K, 90 CRI |  | 1 |  |  | B

## Finished Good
Parent Item | Component Item | Item Description | Standard Unit of Measure | Qty Per | Product Line | Product Type | Procurement Type | Sub Product Family | Staged Item | Coated | Golden Standard
| 292S82 | ACL5L U8 1000LMF 35K U XP T Q D HE WHTT |  |  | ARCH | F | M | ACL5 | N | N | N
292S82 | /C | F-ACL5M96LS35UHEXPTDQ-E0P |  | 0
292S82 | /C | TARGET STORE T-2937 |  | 0
292S82 | /C | 3252665 |  | 0
292S82 | /C | ACL5 ACCOLADE 5 |  | 0
292S82 | /C | M96.00 - EXACT LENGTH |  | 0
292S82 | /C | LS - LED STANDARD OUTPUT |  | 0
292S82 | /C | 35 - CCT: 3500K |  | 0
292S82 | /C | U - UNIVERSAL VOLTAGE |  | 0
292S82 | /C | HE - HIGH EFFICIENCY LENS |  | 0
292S82 | /C | XP - TRIM FLANGE MOUNTING |  | 0
292S82 | /C | T - TITANIUM FINISH |  | 0
292S82 | /C | D - DIMMING 0-10V |  | 0
292S82 | /C | Q - WET LOCATION: ADD LABLE |  | 0
292S82 | /C | E - END EXTRUSION: (1) ENDCAP ONE END / (1) JOINER OPEN END |  | 0
292S82 | /C | 0 - (0) CONNECTOR |  | 0
292S82 | /C | P - POWER FEED |  | 0
292S82 | /C | NOTE 1: THIS FIXTURE WILL HAVE (1) SET OF JOINER A |  | 0
292S82 | /C | NOTE 2: THIS FIXTURE WILL NOT HAVE HARNESS CONNECTORS |  | 0
292S82 | /C | NOTE 3: THE FIXTURE WILL BE PART OF A ROW BUT THE CIRCUIT WILL NOT |  | 0
292S82 | /C | CONTINUE TO JOINING EXTRUSION |  | 0
292S82 | PH-ACL-95.92-35-HV1 | ACL Painted housing |  | 1 |  | P
292S82 | PH-DR-ACL-8FT-SO-DE | ACL Light Engines/Trays |  | 1 |  | P
292S82 | EX-ACL5-XP-96.00P-1EC | ACL Drivers |  | 1 |  | M
292S82 | PH-UNV-JNR-END-1 | ACL Joiners |  | 1 |  | M
292S82 | LS-ACL-HE-96.00 | ACL Optics |  | 2 |  | M
292S82 | PH-ACL5-ENDPLATES-XP-1 | ACL Endplates |  | 1 |  | P
292S82 | /ASMLBR |  |  | 0.6
292S82 | /O/H-A |  |  | 0.6

## Make Part
Parent Item | Component Item | Item Description | Standard Unit of Measure | Qty Per | Product Line | Product Type | Procurement Type | Sub Product Family | Staged Item | Coated | Golden Standard
| EX-ACL5-XP-96.00P-1EC | ACL5 TRIM FLNG, PWR 1EC |  |  |  | F | M |  | N | Y | N
EX-ACL5-XP-96.00P-1EC | /C | FINISH REQUIRED: Y |  | 0
EX-ACL5-XP-96.00P-1EC | /C | HOLES REQUIRED: Y |  | 0
EX-ACL5-XP-96.00P-1EC | /C | 1. CUT EXTRUSION AND RAILS @ 96.00" EXACTLY |  | 0
EX-ACL5-XP-96.00P-1EC | /C | 2. DRILL & TAP (1) POWER HOLE AND DRILL (2) MOUNTING HOLES |  | 0
EX-ACL5-XP-96.00P-1EC | /C | 3. ATTACH (2) "EX-D5-TF-RAILS" TO EXTRUSION |  | 0
EX-ACL5-XP-96.00P-1EC | /C | 4. ATTACH (1) "EC-ACL5-MTF" END CAP NEAR POWER HOLE |  | 0
EX-ACL5-XP-96.00P-1EC | /C | 5. ALL OF THE ABOVE STEPS MUST BE COMPLETED BEFORE POWDER COATING |  | 0
EX-ACL5-XP-96.00P-1EC | EX-ACL5S-MSTR-8 | DIE#016719 8FT. LENGTH +1/8" |  | 1 |  |  | B
EX-ACL5-XP-96.00P-1EC | EX-D5-TF-RAIL-12 | DIE# 014407 12FT.LENGTHS +1/ |  | 2 |  |  | B
EX-ACL5-XP-96.00P-1EC | /OUTLBR | POWDER COATING |  | 8
EX-ACL5-XP-96.00P-1EC | /EXT-CUT | EXTRUSION CUTTING CHARGE |  | 0.04
EX-ACL5-XP-96.00P-1EC | /EXT-CUT-O/H | Extrusion cutting overhead |  | 0.04
EX-ACL5-XP-96.00P-1EC | /FABLBR | MANUFACTURING FAB LABOR |  | 0.04
EX-ACL5-XP-96.00P-1EC | /FABLBR-O/H | MANUFACTURING FAB OVERHEAD |  | 0.04
| EX-ACL5-XP-95.88P-1EC | ACL5 TRIM FLNG, PWR 1EC |  |  |  | F | M |  | N | Y | N
EX-ACL5-XP-95.88P-1EC | /C | FINISH REQUIRED: Y |  | 0
EX-ACL5-XP-95.88P-1EC | /C | HOLES REQUIRED: Y |  | 0
EX-ACL5-XP-95.88P-1EC | /C | 1. CUT EXTRUSION AND RAILS @ 95.875" EXACTLY |  | 0
EX-ACL5-XP-95.88P-1EC | /C | 2. DRILL & TAP (1) POWER HOLE AND DRILL (2) MOUNTING HOLES |  | 0
EX-ACL5-XP-95.88P-1EC | /C | 3. ATTACH (2) "EX-D5-TF-RAILS" TO EXTRUSION |  | 0
EX-ACL5-XP-95.88P-1EC | /C | 4. ATTACH (1) "EC-ACL5-MTF" END CAP NEAR POWER HOLE |  | 0
EX-ACL5-XP-95.88P-1EC | /C | 5. ALL OF THE ABOVE STEPS MUST BE COMPLETED BEFORE POWDER COATING |  | 0
EX-ACL5-XP-95.88P-1EC | EX-ACL5S-MSTR-8 | DIE#016719 8FT. LENGTH +1/8" |  | 1 |  |  | B
EX-ACL5-XP-95.88P-1EC | EX-D5-TF-RAIL-12 | DIE# 014407 12FT.LENGTHS +1/ |  | 2 |  |  | B
EX-ACL5-XP-95.88P-1EC | /OUTLBR | POWDER COATING |  | 8
EX-ACL5-XP-95.88P-1EC | /EXT-CUT | EXTRUSION CUTTING CHARGE |  | 0.04
EX-ACL5-XP-95.88P-1EC | /EXT-CUT-O/H | Extrusion cutting overhead |  | 0.04
EX-ACL5-XP-95.88P-1EC | /FABLBR | MANUFACTURING FAB LABOR |  | 0.04
EX-ACL5-XP-95.88P-1EC | /FABLBR-O/H | MANUFACTURING FAB OVERHEAD |  | 0.04
| EX-ACL5-XP-95.75P-1EC | ACL5 TRIM FLNG, PWR 1EC |  |  |  | F | M |  | N | Y | N
EX-ACL5-XP-95.75P-1EC | /C | FINISH REQUIRED: Y |  | 0
EX-ACL5-XP-95.75P-1EC | /C | HOLES REQUIRED: Y |  | 0
EX-ACL5-XP-95.75P-1EC | /C | 1. CUT EXTRUSION AND RAILS @ 95.75" EXACTLY |  | 0
EX-ACL5-XP-95.75P-1EC | /C | 2. DRILL & TAP (1) POWER HOLE AND DRILL (2) MOUNTING HOLES |  | 0
EX-ACL5-XP-95.75P-1EC | /C | 3. ATTACH (2) "EX-D5-TF-RAILS" TO EXTRUSION |  | 0
EX-ACL5-XP-95.75P-1EC | /C | 4. ATTACH (1) "EC-ACL5-MTF" END CAP NEAR POWER HOLE |  | 0
EX-ACL5-XP-95.75P-1EC | /C | 5. ALL OF THE ABOVE STEPS MUST BE COMPLETED BEFORE POWDER COATING |  | 0
EX-ACL5-XP-95.75P-1EC | EX-ACL5S-MSTR-8 | DIE#016719 8FT. LENGTH +1/8" |  | 1 |  |  | B
EX-ACL5-XP-95.75P-1EC | EX-D5-TF-RAIL-12 | DIE# 014407 12FT.LENGTHS +1/ |  | 2 |  |  | B
EX-ACL5-XP-95.75P-1EC | /OUTLBR | POWDER COATING |  | 8
EX-ACL5-XP-95.75P-1EC | /EXT-CUT | EXTRUSION CUTTING CHARGE |  | 0.04
EX-ACL5-XP-95.75P-1EC | /EXT-CUT-O/H | Extrusion cutting overhead |  | 0.04
EX-ACL5-XP-95.75P-1EC | /FABLBR | MANUFACTURING FAB LABOR |  | 0.04
EX-ACL5-XP-95.75P-1EC | /FABLBR-O/H | MANUFACTURING FAB OVERHEAD |  | 0.04
| EX-ACL5-XP-95.63P-1EC | ACL5 TRIM FLNG, PWR 1EC |  |  |  | F | M |  | N | Y | N
EX-ACL5-XP-95.63P-1EC | /C | FINISH REQUIRED: Y |  | 0
EX-ACL5-XP-95.63P-1EC | /C | HOLES REQUIRED: Y |  | 0
EX-ACL5-XP-95.63P-1EC | /C | 1. CUT EXTRUSION AND RAILS @ 95.625" EXACTLY |  | 0
EX-ACL5-XP-95.63P-1EC | /C | 2. DRILL & TAP (1) POWER HOLE AND DRILL (2) MOUNTING HOLES |  | 0
EX-ACL5-XP-95.63P-1EC | /C | 3. ATTACH (2) "EX-D5-TF-RAILS" TO EXTRUSION |  | 0
EX-ACL5-XP-95.63P-1EC | /C | 4. ATTACH (1) "EC-ACL5-MTF" END CAP NEAR POWER HOLE |  | 0
EX-ACL5-XP-95.63P-1EC | /C | 5. ALL OF THE ABOVE STEPS MUST BE COMPLETED BEFORE POWDER COATING |  | 0
EX-ACL5-XP-95.63P-1EC | EX-ACL5S-MSTR-8 | DIE#016719 8FT. LENGTH +1/8" |  | 1 |  |  | B
EX-ACL5-XP-95.63P-1EC | EX-D5-TF-RAIL-12 | DIE# 014407 12FT.LENGTHS +1/ |  | 2 |  |  | B
EX-ACL5-XP-95.63P-1EC | /OUTLBR | POWDER COATING |  | 8
EX-ACL5-XP-95.63P-1EC | /EXT-CUT | EXTRUSION CUTTING CHARGE |  | 0.04
EX-ACL5-XP-95.63P-1EC | /EXT-CUT-O/H | Extrusion cutting overhead |  | 0.04
EX-ACL5-XP-95.63P-1EC | /FABLBR | MANUFACTURING FAB LABOR |  | 0.04
EX-ACL5-XP-95.63P-1EC | /FABLBR-O/H | MANUFACTURING FAB OVERHEAD |  | 0.04
| EX-ACL5-XP-95.50P-1EC | ACL5 TRIM FLNG, PWR 1EC |  |  |  | F | M |  | N | Y | N
EX-ACL5-XP-95.50P-1EC | /C | FINISH REQUIRED: Y |  | 0
EX-ACL5-XP-95.50P-1EC | /C | HOLES REQUIRED: Y |  | 0
EX-ACL5-XP-95.50P-1EC | /C | 1. CUT EXTRUSION AND RAILS @ 95.5" EXACTLY |  | 0
EX-ACL5-XP-95.50P-1EC | /C | 2. DRILL & TAP (1) POWER HOLE AND DRILL (2) MOUNTING HOLES |  | 0
EX-ACL5-XP-95.50P-1EC | /C | 3. ATTACH (2) "EX-D5-TF-RAILS" TO EXTRUSION |  | 0
EX-ACL5-XP-95.50P-1EC | /C | 4. ATTACH (1) "EC-ACL5-MTF" END CAP NEAR POWER HOLE |  | 0
EX-ACL5-XP-95.50P-1EC | /C | 5. ALL OF THE ABOVE STEPS MUST BE COMPLETED BEFORE POWDER COATING |  | 0
EX-ACL5-XP-95.50P-1EC | EX-ACL5S-MSTR-8 | DIE#016719 8FT. LENGTH +1/8" |  | 1 |  |  | B
EX-ACL5-XP-95.50P-1EC | EX-D5-TF-RAIL-12 | DIE# 014407 12FT.LENGTHS +1/ |  | 2 |  |  | B
EX-ACL5-XP-95.50P-1EC | /OUTLBR | POWDER COATING |  | 8
EX-ACL5-XP-95.50P-1EC | /EXT-CUT | EXTRUSION CUTTING CHARGE |  | 0.04
EX-ACL5-XP-95.50P-1EC | /EXT-CUT-O/H | Extrusion cutting overhead |  | 0.04
EX-ACL5-XP-95.50P-1EC | /FABLBR | MANUFACTURING FAB LABOR |  | 0.04
EX-ACL5-XP-95.50P-1EC | /FABLBR-O/H | MANUFACTURING FAB OVERHEAD |  | 0.04
| EX-ACL5-XP-95.38P-1EC | ACL5 TRIM FLNG, PWR 1EC |  |  |  | F | M |  | N | Y | N
EX-ACL5-XP-95.38P-1EC | /C | FINISH REQUIRED: Y |  | 0
EX-ACL5-XP-95.38P-1EC | /C | HOLES REQUIRED: Y |  | 0
EX-ACL5-XP-95.38P-1EC | /C | 1. CUT EXTRUSION AND RAILS @ 95.375" EXACTLY |  | 0
EX-ACL5-XP-95.38P-1EC | /C | 2. DRILL & TAP (1) POWER HOLE AND DRILL (2) MOUNTING HOLES |  | 0
EX-ACL5-XP-95.38P-1EC | /C | 3. ATTACH (2) "EX-D5-TF-RAILS" TO EXTRUSION |  | 0
EX-ACL5-XP-95.38P-1EC | /C | 4. ATTACH (1) "EC-ACL5-MTF" END CAP NEAR POWER HOLE |  | 0
EX-ACL5-XP-95.38P-1EC | /C | 5. ALL OF THE ABOVE STEPS MUST BE COMPLETED BEFORE POWDER COATING |  | 0
EX-ACL5-XP-95.38P-1EC | EX-ACL5S-MSTR-8 | DIE#016719 8FT. LENGTH +1/8" |  | 1 |  |  | B
EX-ACL5-XP-95.38P-1EC | EX-D5-TF-RAIL-12 | DIE# 014407 12FT.LENGTHS +1/ |  | 2 |  |  | B
EX-ACL5-XP-95.38P-1EC | /OUTLBR | POWDER COATING |  | 8
EX-ACL5-XP-95.38P-1EC | /EXT-CUT | EXTRUSION CUTTING CHARGE |  | 0.04
EX-ACL5-XP-95.38P-1EC | /EXT-CUT-O/H | Extrusion cutting overhead |  | 0.04
EX-ACL5-XP-95.38P-1EC | /FABLBR | MANUFACTURING FAB LABOR |  | 0.04
EX-ACL5-XP-95.38P-1EC | /FABLBR-O/H | MANUFACTURING FAB OVERHEAD |  | 0.04
| EX-ACL5-XP-95.25P-1EC | ACL5 TRIM FLNG, PWR 1EC |  |  |  | F | M |  | N | Y | N
EX-ACL5-XP-95.25P-1EC | /C | FINISH REQUIRED: Y |  | 0
EX-ACL5-XP-95.25P-1EC | /C | HOLES REQUIRED: Y |  | 0
EX-ACL5-XP-95.25P-1EC | /C | 1. CUT EXTRUSION AND RAILS @ 95.25" EXACTLY |  | 0
EX-ACL5-XP-95.25P-1EC | /C | 2. DRILL & TAP (1) POWER HOLE AND DRILL (2) MOUNTING HOLES |  | 0
EX-ACL5-XP-95.25P-1EC | /C | 3. ATTACH (2) "EX-D5-TF-RAILS" TO EXTRUSION |  | 0
EX-ACL5-XP-95.25P-1EC | /C | 4. ATTACH (1) "EC-ACL5-MTF" END CAP NEAR POWER HOLE |  | 0
EX-ACL5-XP-95.25P-1EC | /C | 5. ALL OF THE ABOVE STEPS MUST BE COMPLETED BEFORE POWDER COATING |  | 0
EX-ACL5-XP-95.25P-1EC | EX-ACL5S-MSTR-8 | DIE#016719 8FT. LENGTH +1/8" |  | 1 |  |  | B
EX-ACL5-XP-95.25P-1EC | EX-D5-TF-RAIL-12 | DIE# 014407 12FT.LENGTHS +1/ |  | 2 |  |  | B
EX-ACL5-XP-95.25P-1EC | /OUTLBR | POWDER COATING |  | 8
EX-ACL5-XP-95.25P-1EC | /EXT-CUT | EXTRUSION CUTTING CHARGE |  | 0.04
EX-ACL5-XP-95.25P-1EC | /EXT-CUT-O/H | Extrusion cutting overhead |  | 0.04
EX-ACL5-XP-95.25P-1EC | /FABLBR | MANUFACTURING FAB LABOR |  | 0.04
EX-ACL5-XP-95.25P-1EC | /FABLBR-O/H | MANUFACTURING FAB OVERHEAD |  | 0.04
| EX-ACL5-XP-95.13P-1EC | ACL5 TRIM FLNG, PWR 1EC |  |  |  | F | M |  | N | Y | N
EX-ACL5-XP-95.13P-1EC | /C | FINISH REQUIRED: Y |  | 0
EX-ACL5-XP-95.13P-1EC | /C | HOLES REQUIRED: Y |  | 0
EX-ACL5-XP-95.13P-1EC | /C | 1. CUT EXTRUSION AND RAILS @ 95.125" EXACTLY |  | 0
EX-ACL5-XP-95.13P-1EC | /C | 2. DRILL & TAP (1) POWER HOLE AND DRILL (2) MOUNTING HOLES |  | 0
EX-ACL5-XP-95.13P-1EC | /C | 3. ATTACH (2) "EX-D5-TF-RAILS" TO EXTRUSION |  | 0
EX-ACL5-XP-95.13P-1EC | /C | 4. ATTACH (1) "EC-ACL5-MTF" END CAP NEAR POWER HOLE |  | 0
EX-ACL5-XP-95.13P-1EC | /C | 5. ALL OF THE ABOVE STEPS MUST BE COMPLETED BEFORE POWDER COATING |  | 0
EX-ACL5-XP-95.13P-1EC | EX-ACL5S-MSTR-8 | DIE#016719 8FT. LENGTH +1/8" |  | 1 |  |  | B
EX-ACL5-XP-95.13P-1EC | EX-D5-TF-RAIL-12 | DIE# 014407 12FT.LENGTHS +1/ |  | 2 |  |  | B
EX-ACL5-XP-95.13P-1EC | /OUTLBR | POWDER COATING |  | 8
EX-ACL5-XP-95.13P-1EC | /EXT-CUT | EXTRUSION CUTTING CHARGE |  | 0.04
EX-ACL5-XP-95.13P-1EC | /EXT-CUT-O/H | Extrusion cutting overhead |  | 0.04
EX-ACL5-XP-95.13P-1EC | /FABLBR | MANUFACTURING FAB LABOR |  | 0.04
EX-ACL5-XP-95.13P-1EC | /FABLBR-O/H | MANUFACTURING FAB OVERHEAD |  | 0.04
| EX-ACL5-XP-95.00P-1EC | ACL5 TRIM FLNG, PWR 1EC |  |  |  | F | M |  | N | Y | N
EX-ACL5-XP-95.00P-1EC | /C | FINISH REQUIRED: Y |  | 0
EX-ACL5-XP-95.00P-1EC | /C | HOLES REQUIRED: Y |  | 0
EX-ACL5-XP-95.00P-1EC | /C | 1. CUT EXTRUSION AND RAILS @ 95.00" EXACTLY |  | 0
EX-ACL5-XP-95.00P-1EC | /C | 2. DRILL & TAP (1) POWER HOLE AND DRILL (2) MOUNTING HOLES |  | 0
EX-ACL5-XP-95.00P-1EC | /C | 3. ATTACH (2) "EX-D5-TF-RAILS" TO EXTRUSION |  | 0
EX-ACL5-XP-95.00P-1EC | /C | 4. ATTACH (1) "EC-ACL5-MTF" END CAP NEAR POWER HOLE |  | 0
EX-ACL5-XP-95.00P-1EC | /C | 5. ALL OF THE ABOVE STEPS MUST BE COMPLETED BEFORE POWDER COATING |  | 0
EX-ACL5-XP-95.00P-1EC | EX-ACL5S-MSTR-8 | DIE#016719 8FT. LENGTH +1/8" |  | 1 |  |  | B
EX-ACL5-XP-95.00P-1EC | EX-D5-TF-RAIL-12 | DIE# 014407 12FT.LENGTHS +1/ |  | 2 |  |  | B
EX-ACL5-XP-95.00P-1EC | /OUTLBR | POWDER COATING |  | 8
EX-ACL5-XP-95.00P-1EC | /EXT-CUT | EXTRUSION CUTTING CHARGE |  | 0.04
EX-ACL5-XP-95.00P-1EC | /EXT-CUT-O/H | Extrusion cutting overhead |  | 0.04
EX-ACL5-XP-95.00P-1EC | /FABLBR | MANUFACTURING FAB LABOR |  | 0.04
EX-ACL5-XP-95.00P-1EC | /FABLBR-O/H | MANUFACTURING FAB OVERHEAD |  | 0.04